TILTON CONSERVATION COMMISSION

JUNE 21, 2010

MINUTES

Members present: Jon Scanlon, Bob Hardy, Sukie Clark and Helen Hanks.

PB applications - Walmart: Steve DeCorsey, Jay Sortokowski and Scott Walker, representing Walmart, presented proposed plans for an addition to Walmart and improvements to the parking area. The current 129,000 sq ft building would be increased by 33,000 sq ft.  The plan calls for parking lot islands, improved lighting and landscaping along with the installation of a new water line.  The proposed enlargement of the loading dock will not disturb any wetland area or the existing conservation easement.  Grading will occur near the existing fence which is on the easement line.  There will be an infiltration system installed to collect increased runoff from the enlarged building which will essentially be the same drainage as is currently there.  Items of concern were discussed as follows:

- The fence along the conservation easement property should be replaced in the same location after construction is completed.

- Snow storage should be located in an area that does not drain into the wetlands.

- Sediment control is to be used during construction.

- Installation of the water line will not impact the Ice House Pond easement.

A letter will be sent to the Planning Board with the above concerns along with the suggestion that the “burning bushes” near the entrance to the parking lot be removed as they are invasive species and ask that all planned plantings do not include invasive species.

PB applications – Cloverdale:  Members reviewed the proposed plan for a 20 unit building on Map U4 lot 22 and had significant concern about the capacity of this site to manage the potential runoff based upon its steep slopes before, during and after construction.  Work on this site previously caused serious runoff issues.  Items of concern as follows:

- More details are needed on the “stone rip rap swale” and where the water drains to.

- The proposed 15” pipe for the amount of impervious surface is probably insufficient.

- It appears that the proposed water and sewer lines are identical on the map legend.

- As there is a constant slope of the road toward Rte 3 there would be need for storm drains and/or detention ponds.  This drainage system may impact the abutters.

- There does not appear to be any drainage shown on the planned driveway which will need storm drains, swales, detention ponds, etc.

- The planned pavement ends before reaching the proposed driveway where the road becomes steeper.

- The access road is steeper than is shown on the “roadway plan” as the mapping ends before the steeper part of the road.

- There are no details on the driveway such as elevations, drainage, etc. and no erosion control.

- Fire and emergency access may be an issue with the long steep winding road and only one access.

- The snow storage area appears to be in the woods.

As there are so many questions and concerns with the proposed plan, the Conservation Commission requests that the applicant meet with them before continuing with the plan.  A letter will be sent to the Planning Board with these concerns.

Minutes:  Jon Scanlon moved, seconded by Bob Hardy to accept the minutes of May 17, 2010 as read.  Motion passed.

Jasen Stock easement:  Members reviewed the easement revised as per last month’s discussion.  Jon Scanlon moved, seconded by Sukie Clark to approve the easement as written.  Bob Hardy suggested having two signatures for the Conservation Commission.  Motion approved.

Other:  Jon Scanlon moved, seconded by Sukie Clark to enter non-public session as per RSA 91-A:3 at 8:15 pm.  Motion passed by roll call vote.  The topic of discussion was the acquisition of real estate.  Jon Scanlon moved, seconded by Bob Hardy to adjourn the non-public session at 8:35 pm.  Motion passed by roll call vote.  Motion was made and seconded to seal the minutes  of the non-public session.  Motion passed.

Correspondence:

- LRPC- annual meeting

- DES – GPS workshop

- Agriculture commissions information

Meeting adjourned at 8:45 pm.

Respectfully submitted,

Eliza Conde, Secretary